Main feature

• User friendly software   
• End point method - Storage of abs of regent blank in memory / 10 graphs for KIN test  
• Triplicate calibration mode for EP / KIN / Fix time.   
• Triplicate mode of sampling with mean / SD / CV   
• Print out of laboratory and doctor's name   
• For kinetic test: On line graph and OD, graph editing facility, estimation of result   
• Air purge between samples to avoid carry over / lamp saver mode   
• 35 Direct test keys for test selection   
• Utility mode for self diagnosis checking / 16 bit ADC   
• Sample type: serum / plasma / CSF / urine / whole blood / hemolysate   
• Calculator for lipid profile / globulin ratio / S. Iron TIBC / bilirubin